Department of Environmental Health & Safety

Occupational Health & Safety Office

321 Ryan Street,

Essex, Vermont 05452

LADDER INSPECTION CHECKLIST

- Include and submit checklist(s) to UVM Project Supervisor(s) and Occupational Health and Safety Office ohso@uvm.edu.

- If repairs are needed, IMMEDIATELY pull out of service, label “Do Not Use”, and notify your supervisor.

| Project Number |  |  | Description |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Click here to enter text. |  |  | Click here to enter text. |  |  |  |  |
| Department |  |  | Building |  |  | Location |  |
| Click here to enter text. |  |  | Click here to enter text. |  |  | Click here to enter text. |  |
| Inspection Completed By (Signature): |  |  |  |  |  |  | Date: |
| Click here to enter text. Print Name |  | Click here to enter text. Email |  |  |  |  | Click here to enter text. Phone |
| Ladder Type |  |  |  |  |  |  |  |
| ☐ Step | ☐ Straight |  |  | ☐ Extension | ☐ Specialty (specify): Enter text here. |  |  |
| Ladder Material |  |  |  |  |  |  |  |
| ☐ Fiberglass | ☐ Metal |  |  | ☐ Wood | ☐Other (specify): Enter text here. |  |  |

| Ladder Inspection Checklist |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item # | Item | YES | NO | N/A | NEEDS REPAIR |
| 1 | Ladder has Underwriter’s Laboratory (UL) -approved seal and designed to carry worker weights | ☐ | ☐ | ☐ | ☐ |
| 2 | Ladder has instructions and warning label that is legible | ☐ | ☐ | ☐ | ☐ |
| 3 | Ladder is only used for designed purpose | ☐ | ☐ | ☐ | ☐ |
| 4 | Ladder is in good repair; no loose, cracked, split, dented, rusted, corroded, broken, or missing components | ☐ | ☐ | ☐ | ☐ |
| 5 | Ladder is clean and not painted in a way that hides defects | ☐ | ☐ | ☐ | ☐ |
| 6 | Ladder is used on a flat, hard, level, stable, non-movable base, and non-slippery surface | ☐ | ☐ | ☐ | ☐ |
| 7 | Feet, shoes, and/or cleats are free of grease and mud | ☐ | ☐ | ☐ | ☐ |
| 8 | Moveable parts operate freely without binding or undue play | ☐ | ☐ | ☐ | ☐ |
| 9 | Metal ladders are not used around power lines or near electrical equipment | ☐ | ☐ | ☐ | ☐ |
| 10 | Ladder is secured, tied off, and/or spreaders and locks fully engaged before use | ☐ | ☐ | ☐ | ☐ |
| 11 | Lean ratio 4:1 for straight and extension ladders | ☐ | ☐ | ☐ | ☐ |
| 13 | Workers always face the ladder when ascending or descending, and working | ☐ | ☐ | ☐ | ☐ |
| 14 | Workers travel up and down ladders using 3-point contact always; tool belts or hand lines used to keep hands free | ☐ | ☐ | ☐ | ☐ |
| 15 | Workers keep body inside the side rails (do not lean out beyond the side rails) | ☐ | ☐ | ☐ | ☐ |
| 16 | Ladder rails extent 3 feet above work level access point | ☐ | ☐ | ☐ | ☐ |
| 17 | Straight ladder Don’t climb higher than the third rung from the top | ☐ | ☐ | ☐ | ☐ |
| 18 | Step Ladder Don’t climb higher than the second step from the top; never stand on top cap or top step | ☐ | ☐ | ☐ | ☐ |
| 19 | Employee is trained on proper ladder use | ☐ | ☐ | ☐ | ☐ |
| Corrective Actions Taken |  | ☐ | ☐ | ☐ |  |
| # Enter here | Describe: Click here to enter text. |  |  | Date: Click here to enter text. |  |
| # Enter here | Describe: Click here to enter text. |  |  | Date: Click here to enter text. |  |
| # Enter here | Describe: Click here to enter text. |  |  | Date: Click here to enter text. |  |
| # Enter here | Describe: Click here to enter text. |  |  | Date: Click here to enter text. |  |
| # Enter here | Describe: Click here to enter text. |  |  | Date: Click here to enter text. |  |
| Other Comments: Click here to enter text. |  |  |  |  |  |