[image: image1.png]THE UNIVERSITY
OF VERMONT




NUCLEAR MEDICINE TECHNOLOGY PROGRAM

NMT-263 Fletcher Allen Health Care Clinic

                                   HOT  LAB  COMPETENCY
STUDENT:__________________________________________                          DATE:_____________________
         PASS
          FAIL 
[ ]      
2
[ ]
Begins work promptly at 6 am

[ ]
1
[ ]
Wears proper attire

[ ]
2
[ ]
Body & ring badge properly worn

CAPRAC  WELL  COUNTER
[ ]
2
[ ]
Checks for Class II delivery

[ ]
1
[ ]
Shields Class II delivery before BKG calibrations

[ ]
1
[ ]        Checks to see if well is empty

[ ]
2
[ ]
Performs Background calibration

[ ]
2
[ ]
Performs Test

[ ]
2
[ ]
Performs AutoCalibration

[ ]
2
[ ]
Able to state maximum acceptable deviation

DOSE  CALIBRATOR
[ ]
2
[ ]
Performs Background calibration

[ ]
2
[ ]
Performs Test (High Voltage)

[ ]
4
[ ]
Performs  137-Cs Check on all channels

[ ]
2
[ ]
Able to state maximum acceptable deviation

PATIENT  DATA
[ ]
2
[ ]
Performs daily database maintenance

[ ]
1
[ ]
Retrieves dose calibrator QC results & stores in proper binder

REFRIDGERATOR
[ ]
1
[ ]
Performs temperature check

[ ]
1
[ ]
Performs cleanliness check

SALINE FLUSH
[ ]
1
[ ]
Properly disposes of expired saline bag

[ ]
1
[ ]
Spike and hangs new saline bag utilizing sterile technique

[ ]
1
[ ]
Properly attaches current date sticker

RADIOPHARMACEUTICLES
[ ] 
2
[ ]
Performs surface survey, 1-meter survey,  reads GM meter correctly

[ ]
2
[ ]
Performs wipe test

[ ]
2
[ ]
Performs bar code entry of doses into Hot Lab Manager Data Base

[ ]
1
[ ]
Enters survey and wipe results
[ ]
4
[ ]
Transfers bulk MDP to proper color coded dispensing pig

[ ]
4
[ ]
Transfers bulk  Tc04  to proper storage area

[ ]
2
[ ]
Sorts and labels radiopharm. with calibration time
[ ]
1
[ ]
Reverses radiation signs on radiopharm. delivery containers

ATOM  LAB  PROBE & WELL COUNTER
[ ]
3
[ ]
Performs daily calibration on probe & well

[ ]
2
[ ]
Prints daily QC results & stores in binder

[ ]
2
[ ]
Able to state maximum acceptable deviation

RADIOPHARM.   DOSES  &  HOT  LAB  MANAGER
[ ]
2
[ ]
Selects proper procedure on Hot Lab Manager Computer

[ ]
2
[ ]
Enters proper patient data
[ ]
2
[ ]
Wears gloves appropriatley and lab coat buttoned

[ ]
3
[ ]
Selects proper radiopharm. 
[ ]
2
[ ]
Handles radiopharm. in a sterile manner

[ ]
4
[ ]
Selects proper dose calibrator isotope setting  & adjusts dose to desired activity

[ ]
2
[ ]
Applies proper shielding to dose  (ALARA)

[ ]
1
[ ]
Generates & affixes label to dose and requisition

[ ]
1
[ ]
Signs dose label

[ ]
2
[ ]
Obtains proper requisition from patient chart/file

PATIENT
[ ]
4
[ ]
Explains procedure to patient

[ ]
3
[ ]
Confirms patient identity with date of birth

[ ]
2
[ ]
Confirms patient non-pregnancy if less than age 55

[ ]
4
[ ]
Performs saline flush,  radiopharm.  administration and saline flush

[ ]
2
[ ]
Disposes of all contaminates

[ ]
2
[ ]
Disposes of all contaminated sharps in designated shielded sharps container

[ ]
4
[ ]
Describe how to determine, alert, contain and clean-up radiopharm. spill

COMMENTS:
EVALUATOR:______________________________    PASS:_______  FAIL________  SCORE:________
STUDENT:_______________________________________________  DATE:________________________
CLINICAL COORDINATOR:_______________________________ DATE:________________________

