October 20, 2007

Master Sonics

77 Whiting Street

Plainville, CT 06062

Tel: 800-737-2198

Fax: 860-410-1704

To Whom It May Concern:

Please find enclosed our Branson 8210 unit.

It appears that at least the heater and we suspect the sonicator are not properly functioning.

Can you please inspect and test the unit and make whatever repairs are needed.

Please note that the unit has been modified for continuous operation (we control the unit with an external timer).  Please do not change this configuration.

Please fax the estimate and work authorization to:

Paul Bierman

Department of Geology

802 656 0045

Thank you.

Sincerely,

Professor Paul Bierman

pbierman@uvm.edu

802 656 4411 (voice)

802 238-6826 (cell)