Lab Checklist for Semiannual Inspection Preparation

General Laboratory:

|  | All benchtops are clean and supplies are put away |
| --- | --- |
|  | Sharps containers are available and not overfilled |
|  | Eyewashes have flush records, are flushed regularly, and dates are recorded |
|  | No signs of food or drink is in the lab |
|  | Laboratory trash cans are not overflowing and have been emptied regularly |
|  | Chairs in animal-use areas are a non-fabric material that can be sanitized |
|  | All drugs and supplies are within expiration date |

Behavioral Testing Areas:

|  | Any testing equipment is clean and free of urine/feces/shavings |
| --- | --- |
|  | All treats are within expiration date and clearly marked for animal use only |
|  | All benchtops, chairs, and other equipment is easily sanitized |
|  | No dirty cages are stored in the lab |

Surgical Prep and Designated Surgery Areas

|  | Anesthesia vaporizers have been certified (see date on sticker) |
| --- | --- |
|  | All charcoal filters are regularly weighed and stored appropriately |
|  | Induction chambers are clean and in good condition |
|  | Suture is not reused between animals |
|  | Chairs in animal-use areas are a non-fabric material that can be sanitized |
|  | Benchtops are clean and organized |
|  | All sterile surgery supplies are within date or marked clearly “for non-survival use” |
|  | Downdraft tables are in good operating condition |
|  | Autoclaves have been tested regularly and results are recorded in a log |

Study Areas (animals are kept for more than 24 hours)

|  | Animal housing is kept clean, no dirty cages or old bedding is left in the room |
| --- | --- |
|  | Lights are on a timer with a 12 hour light/dark cycle |
|  | A working thermometer/hygrometer is available in the room |
|  | Temperature and humidity are checked daily and are recorded on a log |