## Slide 1: Nutrient Dynamics in Streams of Four Land Use Types in the Lake Champlain Basin
Allison Jerram, Andrew Schroth, Breck Bowden, Matthew Vaughan, Jamie Shanley, Andy Vermilyea

## Slide 2: Research Questions
How do nutrient concentrations in streams differ among land use types over time?
How does nutrient loading during storms differ among land use types?

## Slide 3: Strategy and Site Selection
Deploy identical in situ sensor suites in streams in Rhode Island, Delaware, and Vermont

## Slide 4: Potash Brook Suburban
Wade Brook
Forested
Hungerford Brook Agricultural
Land Cover for 3 VT Endmembers
Notes: Contrast between 2 land use types (too much to show all 4?)

## Slide 5
Sensor Selections
YSI EXO2
  Conductivity
  Dissolved Oxygen
  pH
  Turbidity
  Fluorescent Dissolved Organic Matter(fDOM)
  BGA/Chlorophyll
s::can Spectrolyser
  Nitrate-N
  Dissolved Organic Carbon
  Total Organic Carbon
  Turbidity
  Full UV/Visible ‘Fingerprint’ scan
Both sensors: 15 minute resolution

## Slide 6
Field Installations
- Suburban
Solar panel
Datalogger
Battery Box
s::can sensor
EXO2 sensor

## Slide 7: Discharge Data
Rating curves were developed for the forested and suburban site
USGS data were used for the agricultural and mixed sites

## Slide 8: Forested Site Rating Curve

## Slide 9: Variability in Nitrate Across Sites

## Slide 10: Relationship of Storm Discharge to Nutrient Export
How much of a certain nutrient enters the stream (and exported downstream) during a storm?
How is storm export different among land use types for a storm of the same size? How does this vary across storms and seasons?
Must normalize discharge and concentration data by including area in calculation

## Slide 11: Nitrate Export During Storms

## Slide 12
Y = 0.03x+0.10, R2=0.42
Y = 2.53x-0.55, R2=0.92
Y = 0.82x+0.13, R2=0.95

## Slide 13: Questions?

## Slide 14: Sensor QA/QC – Nitrate

## Slide 15: Sensor QA/QC – DOC
Chart: Shimadzu DOC concentration (mg L-1)
| 1.72 | 3.8 | 1.99 | 1.88 | 3.96 | 1.82 | 1.9 | 3.1 | 3.63 | 1.76 | 1.968
Wade Brook | 2.81 | 3.04 | 1.6 | 1.7 | 4.84 | 1.45 | 1.7 | 3.41 | 4.05 | 1.77 | 1.576
Hungerford Brook | 11.23 | 17.75 | 12.02 | 11.43 | 9.43 | 9.34 | 9.01 | 12.47 | 19.92 | 13.38 | 10.13 | 10.707
Potash Brook | 10.36 | 10.68 | 9.42 | 12.72 | 14.94 | 13.33 | 16.4 | 15.91 | 15.17 | 15.634
1:1 | 0 | 100