Farnsworth-Munsell 100 Hue Test Taking Instructions

BEFORE You Begin:

- Put on a CLEAN pair of gloves – It is important to keep finger oils, etc. off the color discs to prevent damage to the colors.

- The color discs should be arranged in random order by the person who used the hue range (tray) before you.  If not, follow the directions at the bottom to randomize the discs.

To Take the Test:  You’ll perform the same procedure for ALL four hue ranges (trays), ONE at a time.  It does NOT matter in what order you complete them.  You CANNOT score one hue set at a time; you must complete ALL four before scoring.

- The first and last colors in the tray are fixed, and are to be used as “anchors” for the other hues.  Arrange the color discs in the tray so that they progress in gradual hue steps from left to right, using the fixed anchor discs at each end as guides.  (Note that the first tray has an extra disk; it’s supposed to.)

- When you feel like you have the discs in the correct order, place the clear cover over the tray, and flip it upside-down to dump the discs into the cap.  Do NOT dump the caps on the bench top!!

- Remove the tray from the cap.  You can now read the numbers on the back of the caps.

- On a piece of paper, record the sequence of numbers from left to right, starting with the number of the fixed cap on the tray.  Make sure that you label your number sequence with the appropriate tray number so that you can score your test properly!

Randomize the Color Discs:

- Leaving all the color discs in the clear cap, place the black tray on the counter facing up.  Place the discs into the tray, with the colored spot facing up, in a RANDOM order.   Again, do NOT dump the caps on the bench top!!

- Once all the discs are back in the tray, place the clear cover lightly on top.

- Proceed to the next hue set (tray), or if you have completed all four of them, go to the scoring computers to calculate your TES.

Farnsworth-Munsell 100 Hue Test Scoring Instructions

IMPORTANT: Make sure that you have your results for ALL four hue ranges before you score your test!

- The scoring program is installed on the lab computers.  Open the program if it is not already open by clicking on the desktop icon.  Click on the +New Hue Test button on the top left side.

- Input your Name, and Date of Birth in the User Information pane on the bottom left of the screen, then click Save on the bottom right.

- You should now be in the View/Arrange tab.  Use the mouse to drag and drop the color discs into the same numbered order that you recorded for your test results.

- When you have ALL four hue sets arranged in the same way as your test results, click Save again.

- The analysis shows your results in graphic form; and a Total Error Score (TES) score appears on the right side of the page.

- Write your TES score on a piece of paper.

- Click on the +New Hue Test button again, to reset the program for the next person.

- Enter your TES score in the lab section spreadsheet.