Chapter 2 Solar thermal

- Definitions

  - Power density of 1 “SUN” in kW/m2

  - Transmittance

  - Conduction

  - Convection

  - Radiation

  - Emissivity

  - Low-E coating

  - U-value

  - Absorbtivity

  - Heat pipe

  - Earth sheltering

  - Trombe wall

  - Pumped solar water heater

  - Thermosyphon solar water heater

  - Conservatory

  - Trombe  wall

  - Direct  gain

  - Parabolic mirror

  - Heliostat

  - Solar pond

- T or F.  In July the sea and island east of Sweden have the same solar radiation as parts of the France/Spain border more than 10 degrees of latitude (600 miles) south.

- In winter this region gets what fraction of the sun of the same spot on the France/Spain border?

- What position is better in winter for solar panels?

- name six types of solar collectors.

- % solar gain of an ordinary house.

- Minimum thickness of insulation in a “superinsulated house?