# PV Quiz							Name______________________________

Labels-identify units:

1_________________					V= Voltage=pressure or tension

2_________________					A=Current/amperage=flow of electrons

3_________________					W=Watts=Power = V x A

4_________________					AH=Amp-hours (storage capacity)

5_________________					Watt-hours=WH(or KWH)=energy

6 (from dwg C)_________________			WH= V x AH

A)

- System operates at what nominal DC voltage?________

- Concordes are wired in ____________?

- What is the DC voltage reading on batteries?_________

- At max panel output, what is current (amps) between junction box and RV Power Products SB200E?________

B)

4. Maximum power at 120VAC?__________

5. At max power what is the current (amperage) in the cables between the Concordes and the Statpower unit?_______________

C)

- DC system voltage (input to Xantrex)?________

- AC system power?_________

- PV panels are wired for what voltage output?_________

- RV Power Products SB6024 units convert _____VDC in to _____VDC out?

- 6V Trojan L-16s are wired in _____________to make 24V and

- wired in ______________to connect to Xantrex device?

- Why does C have a #6 unit?________

- A,B, and C are ___________-grid systems?

D)

- DC system voltage is________?  AC system voltage is__________?

- There are _______panels in each of 2 PV arrays?

- Should the wires be bigger on the DC or AC side of the Sunny-Boy units?

- Why doesn’t the system have items #2,3,4, or 6?

E)

- DC system voltage is ________?

- Rolls/Surrette units are wired in ___________, so they must be________each?

- If system is operating at 4000W, what is current in cables between Rolls/Surrette units  and Xantrex unit?

F)

- Current (amps) between breaker and Trace C40 unit at max PV panel output?_____________

- Surrette units are wired in ___________and ___________?

- At max power what is current in cables between S-460 units and Trace SW2512?

- C,E, and F are grid-______________ systems?