## Slide 1: Validate the Data Standard: Interlab Study of NGS HLA Typing
Marc Salit, NIST/ABMS
November 17, 2013
ASHI Meeting, Chicago, IL

## Slide 2: Principle Goals
Ruggedness testing of proposed HLA NGS Reporting Standard
  Draft information standard for HLA and KIR genotyping data generated via Next Generation Sequencing (NGS) technologies and analysis software
  Establish evidence base for functionality and interoperability
Develop standard method for comparing HLA NGS typing results with rigor
  Extensible to emerging applications
Enable lab validation/accreditation through interlab performance studies
Identify cohort of samples useful for the above
Notes: all of this usefully extensible to emerging applications

## Slide 3: Interlab Study Evaluation of Harmonization
Poor hamonization
Good harmonization

## Slide 4: Demonstrate Harmony
Quadrant A is good harmony
  mutually consistent results
  results may agree with reference value, when available
  labs estimate their uncertainties well
  demonstration of Reproducible Research
as in “CCQM Guidance Note: Estimation of a consensus KCRV and associated Degrees of Equivalence” Draft 2010-03-01, Stephen LR Ellison, LGC and Maurice Cox, NPL

## Slide 5: Design for Comparison Data
Required:
  quantitative numeric measurand
    “Y-axis” values
  quantitative confidence estimates
    error bars
Useful:
  estimate of correct value…
    either
      “reference” value or range
    or
      estimate of reference from the population of data
as in “CCQM Guidance Note: Estimation of a consensus KCRV and associated Degrees of Equivalence” Draft 2010-03-01, Stephen LR Ellison, LGC and Maurice Cox, NPL

## Slide 6: Target Plots
Quick visual of lab performance
  closer to vertex is better
  x loc can represent bias
  y loc represents confidence estimate

## Slide 7: Youden Plot
Often used to compare performance on multiple samples for a given lab
looking for stable offsets
  as opposed to variable offsets, indicative of uncontrolled experiments

## Slide 8: Gaps
Method and metrics for systematic comparisons of allele calls
  measures of concordance
  classification of alleles
  classification of discordances
    incl challenging sequence context
    haplotype calling
Verification of challenging alleles
Integration of BQSR, VQSR information
Untangling measurement accuracy, allele calling, data/metadata representation
…

## Slide 9: Considerations for Study Design
Sample Sets
  UCLA set?
  Fred Hutch/Anthony Nolan set
  GeT-RM set from PGx cohort of cell lines @ Coriell
  alternatives?
Number of samples
Participants?
Multiple rounds?
Scope of samples and calls to be reported
  coverage of…
    common alleles
    rare alleles
    proportion in sample set?
  exon representation
  intron reporting
Desirable properties
  well characterized with alternate methods
  broadly available
  stable over time
  trios, quartets

## Slide 10: Faces to get to know…
Dave Duewer
Scott Pine

## Slide 11: Discussion
Does this make sense?
Missed gaps?
Steering group?
  technical
  policy
How to proceed?

## Slide 12: “Space” of Lab Comparisons
Case A
  mutually consistent results, harmonious
    results in the same population; error-bars touch
Case B
  over-dispersion
    poor overlap of error-bars
    evidence of under-estimation of measurement uncertainty
      may arise from experiment design that doesn’t include important factors
        e.g. “Day” effects
Case C
  consistency and harmony, with outliers
    evidence that most labs in control
    evidence that assay probably valid
    possible blunders in outlier labs
Case D
  over-dispersion with outlying values
    mix of Case B and C
as in “CCQM Guidance Note: Estimation of a consensus KCRV and associated Degrees of Equivalence” Draft 2010-03-01, Stephen LR Ellison, LGC and Maurice Cox, NPL