- NUCLEAR MEDICINE TECHNOLOGY PROGRAM

- NMT-264 Clinical Internship

- COMPETENCY EVALUATION

- *** DAILY QUALITY CONTROL ***

Student: ______________________________________ Date Performed: _______

Hospital: ____________________________

Supervisor for this competency: _________________________________

Rating scale for each task:

1 = satisfactory, 0 = unsatisfactory,  NATO = not able to observe,  NA = Not applicable

SAFETY

____	1.	Wears film and ring badge.
____	2.	Wears disposable gloves and lab coat when handling radioactive 				sources.
____	3.	Properly handles / disposes radioactive sources pre and post flood 			acquisition.

PHARMACY

____	4.	Familiar with the preparation and activity of Tc-99m source for intrinsic 			flood source.
GAMMA CAMERAS

____	5.	Demonstrates proper technique for removing collimators in order to 			perform intrinsic flood uniformity.

____	6.	Places correct radioactive source in appropriate position for intrinsic / 			extrinsic flood acquisition.

____	7.	Displays proper placement of Co-57 Sheet source for extrinsic flood 			uniformity.
____	8.	Checks photopeak prior to acquisition.
____	9.	Properly sets up acquisition protocols for both intrinsic / extrinsic floods.
____	10.	Properly replaces appropriate collimators for daily use.

____	11.	Correctly evaluates flood for uniformity.

____	12.	Verifies camera is in proper working condition for patient care use.

____	13.	Can describe the appearance of collimator, crystal and PM damage would appear as on a flood, i.e. what to look for.

DOSE CALIBRATOR

____	14.	Performs quality control procedures on dose calibrator, ie constancy, 			accuracy, linearity).

RECORDS

____	15.	Maintains records of the above QC procedures.

Comments:

Passed: _____                  Failed: _____

General Comments:

Evaluator: __________________________________    	Date: _____________

Student Coordinator: _________________________		Date: _____________

Student: _______________________________________	Date: _____________

Program Director: _____________________________	Date: _____________

12/20/2005