NUCLEAR MEDICINE TECHNOLOGY PROGRAM

NMT-264 Clinical Internship

COMPETENCY EVALUATION

*** RADIOPHARMACY ***

Student: ____________________________________ Date: _____________________

Hospital: ___________________________________

Supervisor for this Competency: _______________________________________

Rating Scale:

1 = satisfactory, 0 = unsatisfactory,  NATO = not able to observe,  NA = Not applicable

SAFETY

____	1.	Wears film and ring badge.

____	2.	Wears disposable gloves and lab coat.

____	3. 	Performs wipe test on incoming radioactive materials.

____	4.	Conducts surveys on radiopharmaceuticals from local pharmacy.

____	5.	Uses aseptic technique when handling syringes and needles prior to patient injections.

____	6.	Uses Lead shielding to reduce radiation exposure.

____	7. 	Removes needles from syringes in a safe manner.

____	8.	Practices good housekeeping in hot lab.

____	9.	Conducts wipe tests of lab, in general, and records results.

DOSE CALIBRATOR QC

____	10.	Uses Dose Calibrator properly.

____	11.	Performs quality control procedures on dose calibrator, including  accuracy, and linearity.

PHARMACEUTICAL PREP

____	12.	Labels radioactive vials.

____	13.	apply radiation decay calculation to determine required volume to be administered.

____	14. 	Uses established technique to prepare radiopharmaceuticals from kits.

____	15. 	Calculates and draws up doses to be administered to patients

____	16.	Performs quality control procedures on radiopharmaceutical kits, including free pertechnetate.

____	17.	Checks expiration dates on kits.

RECORD-KEEPING

____	18.	Maintains records of patients receiving radiopharmaceuticals

____	19.	Knows rules for misadministration, recordable events, and reportable events

GENERATOR

____	20.	Elutes 99Mo/99mTc generator

____	21.	Performs 99Mo assay on eluate

DISPOSAL

____	22.	Properly disposes of radioactive waste.

CONTAMINATION / SPILLS

____	23.	Demonstrates ability to respond to a spill.

____	24.	demonstrate ability to clean up radioactive spill

____	25.	demonstrate ability to decontaminate radiation

Comments:

Passed: _____                  Failed: _____

Comments:

Evaluator: _____________________________________    	Date: ____________

Student Coordinator: _____________________________   	Date: ___________

Student: _______________________________________   	Date: _____________

Program Director: ________________________________	Date: ______________

12/20/2005